## Worksheet
|  |  | Chiller Incentive Worksheet Effective July 1, 2024 to June 30, 2025. (WKS_C_HVAC_Chiller_PY24_2AZ Hawai‘i Energy's mission is to empower island families and businesses to make smart energy choices that reduce energy consumption, save money and pursue a 100% clean energy future. | [9 empty] | Chiller Types
Reciprocating
Rotary Screw
Scroll
Centrifugal
Utility Account Holder Name: |  |  |  |  | Application Number: | [7 empty] | Air Cooled
Project / Building Name: |  |  |  |  | Installation Address:
Reason for Replacement: |  |  |  |  | Facility Type: | [7 empty] | Replacement Type
End-of-Life
[5 empty] | Standard Incentive: |  | 45 | [5 empty] | Failure
New Construction
Notes: | [12 empty] | Retrofit
• The cooling capacity, FL, & IPLV values entered must be the AHRI rated values defined by AHRI 550/590 & AHRI 551/591.
• Contact Hawaii Energy for evaluation of:
• water-cooled chillers larger than or equal to 600 tons
• air-cooled chillers larger than or equal to 300 tons
• any chiller part of a larger, multi-system plant
[14 empty] | Qualifying |  |  |  | Type 1 Size |  |  |  |  | Type 2 Size |  |  |  |  | Type 3 Size
Manufacturer |  | Model Number |  | Chiller Type | Quantity | Cooling Capacity (tons) |  | FL | IPLV | Equipment Incentive | Incentive |  |  | A |  | B |  | 0 | 75 | 150 | 300 | 600 | 0 | 150 | 300 | 400 | 600 | 0 | 150
[12 empty] | TYPE | COLUMN | FL | IPLV | FL | IPLV | 75 | 150 | 300 | 600 | ∞ | 150 | 300 | 400 | 600 | ∞ | 150 | ∞
Example : SuperFeeze |  | Big Chill 0200 |  | Rotary Screw | 1 | 200 |  | 0.5931 | 0.4842 | 45 | 9000 | 1 | 3 | 0.594 | 0.486 | 0.612 | 0.396 | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | TRUE
[10 empty] | DNQ | Incomplete |  | #N/A |  |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[10 empty] | DNQ | Incomplete |  | #N/A |  |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[10 empty] | DNQ | Incomplete |  | #N/A |  |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[10 empty] | DNQ | Incomplete |  | #N/A |  |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[10 empty] | DNQ | Incomplete |  | #N/A |  |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[10 empty] | DNQ | Incomplete |  | #N/A |  |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Total Incentive Requested: | [10 empty] | 0
|  |  | 0 < tons < 75 | 75 <= tons < 150 | 150 <= tons < 300 | 300 <= tons <600
| Type 1 | Path A Units: kW/ton | 0.675 | 0.648 | 0.594 | 0.549
| Positive Displacement (Reciprocating, Rotary, Screw, Scroll) |  | 0.54 | 0.504 | 0.486 | 0.468
|  | Path B Units: kW/ton | 0.702 | 0.675 | 0.612 | 0.563
|  |  | 0.45 | 0.441 | 0.396 | 0.369
|  |  | 0 < tons < 150 | 150 <= tons <300 | 300 <= tons < 400 | 400 <= tons <600
| Type 2 | Path A Units: kW/ton | 0.549 | 0.549 | 0.504 | 0.504
| Centrifugal |  | 0.495 | 0.495 | 0.468 | 0.45
|  | Path B Units: kW/ton | 0.626 | 0.572 | 0.536 | 0.527
|  |  | 0.396 | 0.36 | 0.351 | 0.342
|  |  | 0 < tons < 150 | >= 150 tons
| Type 3 | Path A Units: EER | 11.1 | 11.1
| Air-cooled with condenser |  | 15.1 | 15.4
|  | Path B Units: EER | 10.7 | 10.7
|  |  | 17.4 | 17.7

## EFLH ¦ CF (hidden)
Commercial Chiller
Building Type | EFLH | CF
Misc. Commercial | 2594 | 0.38
Cold Storage | Varies | Varies
Education | 2549 | 0.43
Grocery | 1531 | 0.27
Health | 4891 | 0.55
Hotel/Motel | 4910 | 0.6
Industrial | Varies | Varies
Office | 2754 | 0.48
Restaurant | 2451 | 0.4
Retail | 1913 | 0.29
Warehouse | 1033 | 0.01